Annex 1: Field description of observing ASCII file

Star information

- OBSV

- TARGET or REFERENCE

- Name of observation (string)

- HD number (string)

- Spectral Type (string)

- V magnitude (float)

- J magnitude (float)

- H magnitude (float)

- K magnitude (float)

- Angular diameter (float, mas)

- right ascension (hh:mm:ss.ss)

- declination (dd:mm:ss.s)

- proper motion alpha (float, mas/yr)

- proper motion delta (float, mas/yr)

- parallax (float, mas)

- Minimum Hour Angle (z>30° & OPLE)

- Maximum Hour Angle (z>30° & OPLE)

Chara setup

- XOPLE for reference

- T1 (E1,E2, S1, S2, W1, W2)

- Pop1 (POP1, POP2, POP3, POP4, POP5)

- Switchyard 1 (V1, V2, V3, V4)

- T2

- Pop2

- Switchyard 2

- T3

- Pop3

- Switchyard 3

- T4

- Pop4

- Switchyard 4

Vega setup

- Tracking detector (Red/Blue)

- Slit selection

- Grating selection

- Camera

- Lambda

- polar choice (Off, )

- Red density

- Blue density

- Record configuration

- Nb block

- No Image

If Calibration

- CALI

- SPEC or FLAT

- Name of observation

- Slit selection

- Grating selection

- Camera

- Lambda

- polar choice (Off, )

- Red density

- Blue density

- Record configuration

- Nb block

- No Image